## Primary Measurements
L (meas) | 7688 | nH
C_total | 823 | pF | Want | 2 | Mhz
|  |  | Cap | 8.237e-10 | C
Calculated Resonance | 2.0008 | MHz |  | 823.6959 | pC
Volume | 0.49314
I (mA) (peak) | Frequency (MHz) | V_in (pp at fundamental) (mV) | V_out (pp) (V) | Q (basic calculation) | R (Ohm) | Power | L calc | Q final | R eff | P loss Eff | Pv | C parasitic | P loss parasitic |  | R Parasitic Effective | Q New
336.723 | 1.904 | 293.24 | 68.4 | 233.256 | 0.3943 | 0.022353 | 8.49e-06 | #REF! | #REF! | #REF! | #REF! | 2.36e-12 | 0.0013209 | #REF! | 0.01165 | #REF! | #REF!
419.4269 | 1.904 | 376.324 | 85.2 | 226.4007 | 0.40624 | 0.035733 | 8.49e-06 | #REF! | #REF! | #REF! | #REF! | 2.36e-12 | 0.0020495 | #REF! | 0.01165 | #REF! | #REF!
547.421 | 1.904 | 496.54 | 111.2 | 223.9497 | 0.41069 | 0.061535 | 8.49e-06 | #REF! | #REF! | #REF! | #REF! | 2.36e-12 | 0.0034911 | #REF! | 0.01165 | #REF! | #REF!
744.335 | 1.904 | 683.806 | 151.2 | 221.1153 | 0.41595 | 0.11523 | 8.49e-06 | #REF! | #REF! | #REF! | #REF! | 2.36e-12 | 0.0064545 | #REF! | 0.01165 | #REF! | #REF!
1073.1814 | 1.904 | 973.002 | 218 | 224.0489 | 0.4105 | 0.23639 | 8.49e-06 | #REF! | #REF! | #REF! | #REF! | 2.36e-12 | 0.013418 | #REF! | 0.01165 | #REF! | #REF!
1476.8552 | 1.904 | 1355.956 | 300 | 221.2461 | 0.4157 | 0.45335 | 8.49e-06 | #REF! | #REF! | #REF! | #REF! | 2.36e-12 | 0.02541 | #REF! | 0.01165 | #REF! | #REF!
1860.8375 | 1.904 | 1740.732 | 378 | 217.15 | 0.42355 | 0.73331 | 8.49e-06 | #REF! | #REF! | #REF! | #REF! | 2.36e-12 | 0.040341 | #REF! | 0.01165 | #REF! | #REF!

## 4.5 A
Time | Avg Temp | Averge Wire | Wire Temp | Wire Temp | Wire Temp | Average Shell | Shell Temp | Shell Temp | Shell Temp | Average Top | Top Temp | Top Temp | Top Temp | Current | Voltage | Power
0 | 26.6667 | 27.2 | 27.1 | 27.2 | 27.3 | 26.8 | 26.8 | 26.7 | 26.9 | 26 | 26 | 26.1 | 25.9 | 4.4943 | 0.04754 | 0.21366
10 | 28.6 | 29.4 | 29.4 | 29.5 | 29.3 | 28.6667 | 28.7 | 28.6 | 28.7 | 27.7333 | 27.6 | 27.6 | 28 | 4.4952 | 0.04772 | 0.21451
20 | 28.8444 | 29.6 | 28.9 | 30 | 29.9 | 29.1333 | 29.1 | 29.2 | 29.1 | 27.8 | 27.8 | 27.9 | 27.7 | 4.4955 | 0.04779 | 0.21484
30 | 29.2778 | 30.1333 | 30 | 30.2 | 30.2 | 29.4 | 29.3 | 29.4 | 29.5 | 28.3 | 28.4 | 28.3 | 28.2 | 4.4958 | 0.04785 | 0.21512
40 | 29.4667 | 30.5 | 30.6 | 30.5 | 30.4 | 29.5667 | 29.7 | 29.5 | 29.5 | 28.3333 | 28.4 | 28.3 | 28.3 | 4.496 | 0.0479 | 0.21536
50 | 29.6556 | 30.6 | 30.6 | 30.6 | 30.6 | 29.8667 | 30 | 29.8 | 29.8 | 28.5 | 28.5 | 28.4 | 28.6 | 4.4961 | 0.04793 | 0.2155
60 | 29.6778 | 30.5667 | 30.6 | 30.6 | 30.5 | 29.8333 | 29.8 | 29.9 | 29.8 | 28.6333 | 28.6 | 28.5 | 28.8 | 4.4961 | 0.04796 | 0.21563
70 | 29.7556 | 30.6333 | 30.6 | 30.7 | 30.6 | 30 | 30 | 29.9 | 30.1 | 28.6333 | 28.6 | 28.7 | 28.6 | 4.4962 | 0.04798 | 0.21573
80 | 29.7667 | 30.7 | 30.8 | 30.6 | 30.7 | 30 | 30 | 30.1 | 29.9 | 28.6 | 28.5 | 28.6 | 28.7 | 4.4962 | 0.048 | 0.21582
90 | 29.8111 | 30.7 | 30.7 | 30.7 | 30.7 | 30.1 | 30.1 | 30.1 | 30.1 | 28.6333 | 28.7 | 28.6 | 28.6 | 4.4962 | 0.04801 | 0.21586

## 5.0 A
Time | Avg Temp | Averge Wire | Wire Temp | Wire Temp | Wire Temp | Average Shell | Shell Temp | Shell Temp | Shell Temp | Average Top | Top Temp | Top Temp | Top Temp | Current | Voltage | Power
0 | 29.8111 | 30.7 | 30.7 | 30.7 | 30.7 | 30.1 | 30.1 | 30.1 | 30.1 | 28.6333 | 28.7 | 28.6 | 28.6 | 4.9967 | 0.05339 | 0.26677
10 | 30.7333 | 31.7 | 31.8 | 31.7 | 31.6 | 30.9 | 30.8 | 31 | 30.9 | 29.6 | 29.7 | 29.6 | 29.5 | 4.997 | 0.05352 | 0.26744
20 | 30.8111 | 31.9 | 31.9 | 31.9 | 31.9 | 30.9333 | 30.9 | 30.9 | 31 | 29.6 | 29.5 | 29.6 | 29.7 | 4.9973 | 0.05352 | 0.26746
30 | 30.9889 | 32.1 | 32 | 32.1 | 32.2 | 30.9667 | 31 | 31 | 30.9 | 29.9 | 29.8 | 29.9 | 30 | 4.9976 | 0.05365 | 0.26812
40 | 31.0444 | 32.1333 | 32.1 | 32.1 | 32.2 | 31.0667 | 31.1 | 31 | 31.1 | 29.9333 | 29.9 | 30 | 29.9 | 4.9979 | 0.0537 | 0.26839
50 | 31.0667 | 32.1333 | 32.2 | 32.1 | 32.1 | 31.0667 | 31 | 31.1 | 31.1 | 30 | 30 | 29.9 | 30.1 | 4.9982 | 0.05437 | 0.27175
Note on A1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: STARTING FROM THE 4.5 CURVE/TEMP

## 5.5 A
Time | Avg Temp | Averge Wire | Wire Temp | Wire Temp | Wire Temp | Average Shell | Shell Temp | Shell Temp | Shell Temp | Average Top | Top Temp | Top Temp | Top Temp | Current | Voltage | Power
0 | 24.5111 | 25.0667 | 25 | 25.1 | 25.1 | 24.2 | 24.3 | 24.1 | 24.2 | 24.2667 | 24.2 | 24.3 | 24.3 | 5.4951 | 0.05733 | 0.31503
10 | 28.1333 | 29.3667 | 29.3 | 29.4 | 29.4 | 28.0667 | 28.1 | 28.1 | 28 | 26.9667 | 27 | 26.9 | 27 | 5.496 | 0.05812 | 0.31943
20 | 29.8 | 30.9333 | 30.9 | 30.9 | 31 | 29.8 | 29.8 | 29.9 | 29.7 | 28.6667 | 28.7 | 28.7 | 28.6 | 5.4965 | 0.05866 | 0.32242
30 | 30.9556 | 32.1333 | 32.2 | 32.1 | 32.1 | 31.0333 | 31.1 | 31 | 31 | 29.7 | 29.6 | 29.8 | 29.7 | 5.4967 | 0.05898 | 0.3242
40 | 31.3778 | 32.4667 | 32.4 | 32.5 | 32.5 | 31.5667 | 31.6 | 31.5 | 31.6 | 30.1 | 30.1 | 30.2 | 30 | 5.4966 | 0.05916 | 0.32518
50 | 31.8889 | 33.2 | 33.2 | 33.2 | 33.2 | 31.9 | 31.9 | 31.9 | 31.9 | 30.5667 | 30.6 | 30.5 | 30.6 | 5.4968 | 0.05927 | 0.3258
60 | 32.0667 | 33.5 | 33.4 | 33.6 | 33.5 | 32.0333 | 32.1 | 32 | 32 | 30.6667 | 30.7 | 30.6 | 30.7 | 5.4968 | 0.05933 | 0.32613
70 | 32.2556 | 33.8333 | 33.8 | 33.9 | 33.8 | 32.2333 | 32.3 | 32.2 | 32.2 | 30.7 | 30.7 | 30.8 | 30.6 | 5.4969 | 0.05938 | 0.32641

## 6.0 A
Time | Avg Temp | Averge Wire | Wire Temp | Wire Temp | Wire Temp | Average Shell | Shell Temp | Shell Temp | Shell Temp | Average Top | Top Temp | Top Temp | Top Temp | Current | Voltage | Power
0 | 31.6556 | 32.9667 | 33 | 33 | 32.9 | 31.9333 | 32 | 31.9 | 31.9 | 30.0667 | 30.2 | 30 | 30 | 5.9969 | 0.06473 | 0.38818
10 | 32.4889 | 34.1 | 34 | 34.2 | 34.1 | 32.7667 | 32.8 | 32.8 | 32.7 | 30.6 | 30.6 | 30.7 | 30.5 | 5.9972 | 0.06497 | 0.38964
20 | 32.9 | 34.5333 | 34.5 | 34.6 | 34.5 | 33.2667 | 33.3 | 33.3 | 33.2 | 30.9 | 30.8 | 30.9 | 31 | 5.9971 | 0.06512 | 0.39053
30 | 33.3111 | 35.2333 | 35.3 | 35.2 | 35.2 | 33.5333 | 33.6 | 33.5 | 33.5 | 31.1667 | 31.2 | 31.2 | 31.1 | 5.997 | 0.06518 | 0.39088
40 | 33.6333 | 35.0333 | 35 | 35.1 | 35 | 33.8333 | 33.7 | 33.8 | 34 | 32.0333 | 32 | 32.1 | 32 | 5.997 | 0.06521 | 0.39106
50 | 33.7556 | 35.6667 | 35.7 | 35.6 | 35.7 | 33.9 | 34 | 33.9 | 33.8 | 31.7 | 31.6 | 31.7 | 31.8 | 5.997 | 0.06524 | 0.39124
60 | 33.8778 | 35.1 | 35.2 | 35 | 35.1 | 33.9 | 33.9 | 33.8 | 34 | 32.6333 | 32.6 | 32.8 | 32.5 | 5.997 | 0.06525 | 0.3913

## 6.5 A
Time | Avg Temp | Averge Wire | Wire Temp | Wire Temp | Wire Temp | Average Shell | Shell Temp | Shell Temp | Shell Temp | Average Top | Top Temp | Top Temp | Top Temp | Current | Voltage | Power
0 | 24.7667 | 24.5333 | 24.5 | 24.6 | 24.5 | 24.9667 | 25 | 25 | 24.9 | 24.8 | 24.9 | 24.8 | 24.7 | 6.495 | 0.06767 | 0.43952
10 | 29.6778 | 31 | 30.9 | 31 | 31.1 | 29.5667 | 29.6 | 29.5 | 29.6 | 28.4667 | 28.5 | 28.4 | 28.5 | 6.497 | 0.06923 | 0.44979
20 | 31.9 | 33.3 | 33.2 | 33.3 | 33.4 | 31.8667 | 31.9 | 31.9 | 31.8 | 30.5333 | 30.5 | 30.6 | 30.5 | 6.4973 | 0.07004 | 0.45507
30 | 33.3444 | 34.7667 | 34.8 | 34.8 | 34.7 | 33.7333 | 33.9 | 33.8 | 33.5 | 31.5333 | 31.6 | 31.5 | 31.5 | 6.4973 | 0.07058 | 0.45858
40 | 34.0444 | 35.6333 | 35.5 | 35.7 | 35.7 | 34.1667 | 34.2 | 34.2 | 34.1 | 32.3333 | 32.3 | 32.3 | 32.4 | 6.4976 | 0.07081 | 0.4601
50 | 34.5111 | 36.1333 | 36.2 | 36.1 | 36.1 | 34.7 | 34.7 | 34.7 | 34.7 | 32.7 | 32.8 | 32.7 | 32.6 | 6.4978 | 0.07099 | 0.46128
60 | 35 | 36.9 | 36.9 | 36.9 | 36.9 | 34.9 | 35 | 34.9 | 34.8 | 33.2 | 33.3 | 33.2 | 33.1 | 6.4976 | 0.0711 | 0.46198
70 | 35.2111 | 37.0333 | 37.2 | 37 | 36.9 | 35.2333 | 35.2 | 35.3 | 35.2 | 33.3667 | 33.3 | 33.4 | 33.4 | 6.4975 | 0.07116 | 0.46236
80 | 35.2111 | 37.0333 | 37.1 | 37 | 37 | 35.3333 | 35.4 | 35.3 | 35.3 | 33.2667 | 33.2 | 33.3 | 33.3 | 6.4976 | 0.07122 | 0.46276

## AC 50%
Time | Avg Temp | Averge Wire | Wire Temp | Wire Temp | Wire Temp | Average Shell | Shell Temp | Shell Temp | Shell Temp | Average Top | Top Temp | Top Temp | Top Temp | Freq (Mhz) | Vin(mV) PEAK | Vin(mV) | Vout | Current | Power | Resistance
0 | 25.5667 | 25.5667 | 25.5 | 25.6 | 25.6 | 25.5667 | 25.6 | 25.5 | 25.6 | 25.5667 | 25.6 | 25.5 | 25.6 | 1.898 | 660 | 1320 | 314 | 1.5334 | 0.45 | 0.38276
10 | 30.2889 | 32.1667 | 32.2 | 32.1 | 32.2 | 30.1667 | 30.1 | 30.2 | 30.2 | 28.5333 | 28.5 | 28.5 | 28.6 | 1.898 | 674 | 1348 | 314 | 1.5334 | 0.45 | 0.38276
20 | 32.8 | 35.5333 | 35.5 | 35.6 | 35.5 | 32.3 | 32.3 | 32.2 | 32.4 | 30.5667 | 30.6 | 30.6 | 30.5 | 1.897 | 584 | 1168 | 308 | 1.5033 | 0.45 | 0.39823
30 | 33.9444 | 36.6 | 36.6 | 36.7 | 36.5 | 33.7 | 33.8 | 33.7 | 33.6 | 31.5333 | 31.5 | 31.6 | 31.5 | 1.897 | 596 | 1192 | 312 | 1.5228 | 0.45 | 0.38809
40 | 34.2556 | 36.6667 | 36.8 | 36.6 | 36.6 | 34.1667 | 34.1 | 34.2 | 34.2 | 31.9333 | 31.9 | 32 | 31.9 | 1.896 | 721 | 1442 | 298 | 1.4537 | 0.45 | 0.42586
50 | 34.5111 | 37.0667 | 37.1 | 37 | 37.1 | 34.4333 | 34.5 | 34.4 | 34.4 | 32.0333 | 32 | 32.1 | 32 | 1.896 | 728 | 1456 | 290 | 1.4147 | 0.45 | 0.44968
60 | 34.7778 | 37.4667 | 37.5 | 37.4 | 37.5 | 34.6333 | 34.7 | 34.6 | 34.6 | 32.2333 | 32.2 | 32.3 | 32.2 | 1.897 | 660 | 1320 | 300 | 1.4643 | 0.45 | 0.41976
70 | 35.0111 | 37.7333 | 37.7 | 37.8 | 37.7 | 35.0667 | 35.1 | 35.1 | 35 | 32.2333 | 32.3 | 32.2 | 32.2 | 1.897 | 659 | 1318 | 298 | 1.4545 | 0.45 | 0.42541
80 | 35.0667 | 37.8333 | 37.9 | 37.8 | 37.8 | 35.0667 | 35 | 35.1 | 35.1 | 32.3 | 32.3 | 32.3 | 32.3 | 1.897 | 656 | 1312 | 298 | 1.4545 | 0.45 | 0.42541
Settings
|  |  | freq | 1.932 | mHz
|  |  | C | 819 | pC
|  |  | Drive | 50%
Vin
Vout of the capacitor
make sure you are at resonance at everything
Note on O3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 1.897 after resonance adjusting
Note on P3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 578 after resonance adjusting
Note on R3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 304 after resonance adjusting
Note on O5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 1.896
Note on P5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 720
Note on R5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 302
Note on O7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 1.897
Note on P7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 659
Note on R7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 300

## Comparing Results 0923
Time | 0.22 W | Time | 0.27 W | Time | 0.33 W | Time | 0.39 W | Time | 0.46 W | Time | AC 1.45A
0 | 26.6667 | 0 | 29.8111 | 0 | 24.5111 | 0 | 31.6556 | 0 | 24.7667 | 0 | 25.5667
10 | 28.6 | 10 | 30.7333 | 10 | 28.1333 | 10 | 32.4889 | 10 | 29.6778 | 10 | 30.2889
20 | 28.8444 | 20 | 30.8111 | 20 | 29.8 | 20 | 32.9 | 20 | 31.9 | 20 | 32.8
30 | 29.2778 | 30 | 30.9889 | 30 | 30.9556 | 30 | 33.3111 | 30 | 33.3444 | 30 | 33.9444
40 | 29.4667 | 40 | 31.0444 | 40 | 31.3778 | 40 | 33.6333 | 40 | 34.0444 | 40 | 34.2556
50 | 29.6556 | 50 | 31.0667 | 50 | 31.8889 | 50 | 33.7556 | 50 | 34.5111 | 50 | 34.5111
60 | 29.6778 | 60 | 31.0667 | 60 | 32.0667 | 60 | 33.8778 | 60 | 35 | 60 | 34.7778
70 | 29.7556 | 70 | 31.0667 | 70 | 32.2556 | 70 | 33.8778 | 70 | 35.2111 | 70 | 35.0111
80 | 29.7667 | 80 | 31.0667 | 80 | 32.2556 | 80 | 33.8778 | 80 | 35.2111 | 80 | 35.0667
90 | 29.8111 | 90 | 31.0667 | 90 | 32.2556 | 90 | 33.8778 | 90 | 35.2111 | 90 | 35.0667